## Sheet1
DATE | TFR NO. | MJOB NO. | REF NO. | KMP | SPAN | AREA | SITE NAME | SUPERVISOR DISPATCHED | ELECTRICIAN/LINESMAN | CONTROLLER | Saps Station | Case No. | INCIDENT | Unnamed: 14 | Unnamed: 15 | Unnamed: 16 | Unnamed: 17 | Unnamed: 18 | Unnamed: 19 | Unnamed: 20 | Unnamed: 21 | Unnamed: 22 | Unnamed: 23 | Unnamed: 24 | Unnamed: 25 | Unnamed: 26 | Unnamed: 27 | Unnamed: 28 | Unnamed: 29 | Unnamed: 30 | Unnamed: 31 | Unnamed: 32 | Unnamed: 33 | Unnamed: 34 | Unnamed: 35 | Unnamed: 36 | Unnamed: 37 | Unnamed: 38 | Unnamed: 39 | Unnamed: 40 | Unnamed: 41 | Unnamed: 42 | Unnamed: 43 | Unnamed: 44 | Unnamed: 45 | Unnamed: 46 | Unnamed: 47 | Unnamed: 48 | Unnamed: 49 | Unnamed: 50 | Unnamed: 51 | Unnamed: 52 | Unnamed: 53 | Unnamed: 54 | Unnamed: 55 | Unnamed: 56 | Unnamed: 57 | Unnamed: 58 | Unnamed: 59 | Unnamed: 60 | Unnamed: 61 | Unnamed: 62 | Unnamed: 63 | Unnamed: 64 | Unnamed: 65 | Unnamed: 66 | Unnamed: 67 | Unnamed: 68 | Unnamed: 69 | Unnamed: 70 | Unnamed: 71 | Unnamed: 72 | KMP | Unnamed: 73 | Unnamed: 74 | Unnamed: 75 | Unnamed: 76 | Unnamed: 77 | Unnamed: 78 | Unnamed: 79 | Unnamed: 80 | Unnamed: 81 | Unnamed: 82 | Unnamed: 83 | Unnamed: 84 | Unnamed: 85 | Unnamed: 86 | Unnamed: 87 | Unnamed: 88 | Unnamed: 89 | Unnamed: 90 | Unnamed: 91 | Spans | Area | Site Name | Supervisor Dispatched | Linesman/ Electrician | Controller | Incident Details | Latitude | Longitude
01/01/2024 | 43920/12/23 |  | CO157/0018 | 1989-09-10 00:00:00 | 1SPAN of contact | Sentrarand | Rodekopies | S/o Maifo 079041545 | Electrician Rhulani 0839281291 and linesman Siphiwe 0605716751 | Nondumiso and Nemavhola | Welbekend | pending | At 02:20 S/o M 0790415450 reported to emergency response center that at Rodekoppies KMP 89/9-89/10 1 Span of tiger wire cut and left on the ground and 1 span of contact wire cut and stolen. | [86 empty] | -26.2041 | 28.0473
01/01/2024 | 43928/01/2024 | .6079/01/2024 | CO 157/0357 | 12/15-17 | 2span of contact | Sentrarand | varkfontein/knopies | Supervisor Murathi 0652505580 | linesman Hendry 0661099060 | Nondumiso and Nemavhola | Putfontein SAPS | pending | At 03;36 S/o Chauke reported that between Varkfontein/Knoppies fontein KMP 12/15-12/17 2 span of contact wire cut and stolen. At 03;49 Supervisor Murathi 0652505580 was informed. At 03:50 area manager M.R Hans Durant 0839629653 was informed. At 03:55 Electrical control Portia 0115849314 was informed linesman Hendry 0661099060 activated to attend. Ref no. CO 157/0357.Security is required to protect them when they get to the areas/o Lamani 06300161688 was dispatched 43928/01/2024.MJA OB NO. 6079/01/2024. | [52 empty] | Case will be opened at Springs SAPS |  |  |  | By Mjayeli Sup Dilebo 0715243831 | [29 empty] | -26.2041 | 28.0473
01/01/2024 | 43467/12/2023 | 5951-01-24 00:00:00 | CO159/0837 | 45/08-10 | 2span | Sentrarand | Cowlesdam | Sup Ndou | Linesman Luzuko | Simphiwe & Zanele | Springs SAPS | pending | At 08:36 Mjayeli Sup Ndou 0693318322 driving LL 41PL GP reported that while he was patroling the line at Cowlesdam at 07:30 he discovered 2span of contact wire cut and stolen on line 1 kmp 45/08-10 Cowlesdam. At 08:37 Electrical control | [23 empty] | Bomkazi 0115849314 informed. Linesman Luzuko 0832738159 activated to attend. Ref CO159/0837. Mjayeli Sup Ndou further confirmed that they recovered about 5 meters of contact wire along the line | [62 empty] | -26.2041 | 28.0473
03/01/2024 | 44275/01/24 | 6161/01/2024 | CC016:0047 | kmp 60/7 | 1SPAN of contact | Vereeniging | Houtheuwel | Sup Kganya 0783785055 | Electrician Paul 0832843674 and linesman Bernard 0834581388 | Evenolia and Nomveliso | Sebokeng SAPS | Pending | DESCRIPTION At 00:56 Electrical control Phuti 0115449783 informed Emergency response Centre that there is possible theft as he detected 3KV power off at Biljkor yard. Electrician Paul 0832843674 and linesman Bernard 0834581388 activated top attend. Security is requested to urgently respond to this area to establish if someone is busy stealing the cable. He will require escort when he gets to the area. REF: CC016:0047 MJ OB: 6161/01/2024 TFR: 44275/01/2024 At 01:00 Sup Madina 0727632542 dispatched. Electrician Paul said he will arrive at 02:00, he will start at Katboslagte Substation. At 02:55 Sup Kganya 0783785055 reported that there at kmp 60/7 there was an attempted theft of contact wire cable was cut and left hanging only on one side all droppers still intact and tiger wire intact. Case will be opened at Sebokeng police station after we finished our patrols. Technician confirmation 03:34 linesman Bernard 0834581388 confirmed that 1 span of contact wire was cut and left hanging on one side, he will be doing the repairs now. | [86 empty] | -26.6736 | 27.9319
03/01/2024 | 44290/01/24 | 6162/01/2024 | CO162/0228 | kmp9/15-10/1 | 1SPAN of contact | Springdale | Hartebees and Marieshoop | Sup Moshoene 0837513024 | Electrician Thelma 0834009562 and linesman Lucky 0718898061 | Evenolia and Nomveliso | Olifantsfontein SAPS | 3/1/2024 | At 02:55 Sup Moshoene 0837513024 reported that 1span of contact wire cable has been cut and stolen at Marieshoop kmp9/15 to kmp10/1 line no 2. Electrician confirmed that she opened track switch and closed the breaker at Marishoop Substation At 03:11 Linesman Marcus 0721565780 is going to attend at Marieshoop and confirmed that he will be on site at 04:15 Case will be opened at Olifantsfontein SAPS by Sup Maliyavuza 0794327929 At 03:41 Manager Komane 0695898521 has been . FEEDBACK REF: CO162/0228 MJ OB: 6162/01/2024 TFR: 44290/01/2024 At 05:00 Sup Moshoene 0837513024 reported escort complete and Technician Marcus 0721565730 confirmed that 1span contact wire cable has been cut and stolen at kmp9/15 to kmp10/1 line no 2 at Marieshoop. Marcus Confirmed that the cable will be fixed at around 7am today. FIC form will be collected when Technicians will be fixing the cable. | [86 empty] | 36.1867 | -94.1288
03/01/2024 | 44549/01/2023 | 6210/01/2024 | CO157/0013 | kmp 9/01-1 | 1SPAN of contact | Springdale | Marieshoop | Sup Moshoene 0837513025 | Linesman Marcus 0721565780 | Evenolia and Nomveliso | Olifantsfontein SAPS | pending | At 23:35 Moshoene 0837513024 reported that there is1span contact wire cable cut and stolen at Marieshoop kmp9/1 to kmp9/2 line no2. We tried to contact electrical control to report the above to no avail At 00:11 Emergency response centre informed Electrical Control Bomkazi 0115849314 that there is OHTE cable theft 1span contact wire at Marieshoop kmp9/1 to 9/2 line 2. Linesman Marcus 0721565787 activated to attend. He will need security to escort him when he gets to the area. Case will be opened at Olifantsfontein SAPS by Sup Maliyavuza 0794327929 Manager Vincent Tshilwane 0766985501 informed, he has been by the crime scene since 23:00. At 03:20 Sup Moshoene 0837513024 reported escort complete and Technician Marcus 0721565730 confirmed that 1span contact wire cable has been cut and stolen at kmp9/1 to kmp9/2 line no 2 at Marieshoop. Marcus Confirmed that the cable will be fixed at around 7am today. FIC form will be collected when Technicians will be fixing the cable. | [86 empty] | 36.1867 | -94.1288
04/01/2024 | 44578/01/2024 | 6222/01/2024 | CO168/0402 | KMP4/9-11 | 2Span of contact wire | Sentrarand | varkfontein | Linesman Lucky 0718898061 | Sup Gwebu 0614698039 | Evenolia and Nomveliso | Etwatwa | pending | At 03:50 Sup Gwebu 0614698039 reported that his patrol routine at 02:55 he discovered that 2span contact wire cable cut and stolen at Varkfontein kmp4/9 to kmp4/11 line no.1. Case will be opened at Etwatwa SAPS by Sup Gweba. At 03:59 Emergency response centre informed Electrical Control Bomkazi 0115849314 about the theft, Linesman Lucky 0718898061 to be activated. REF: CO168/0402 MJ OB: 6222/01/2024 TFR: 44578/01/2024 At 04:10 Area manager Hans 0839629653 informed. | [86 empty] | -26.2041 | 28.0473
05/01/2024 | 44807/01/2024 | 6276/01/2024 | :CC026/2324 |  | 3span contact | Leeuhof | Leehof juntion | Sup Kganya 0783785055 | Linesman Portia :0834120327 and | Zanele and Simphiwe | Vereeniging | pending | At 22:49 Mjayeli Sup Kganya 0783785055 report that when he performing his duty at he found contact cable cut and left hanging at Leehof juntion and confirmed that there are no kmp. Electrical control Phuthi 0115449783 confirmed that he's already send Leeuhof planners to check what's the problem. | [86 empty] | -26.5 | 27.85
05/01/2024 | 44842/01 | 6292-01-24 00:00:00 | C027/0323 | 64/17. | 2span | Bilkour | Bilkjor | Sup Hlakula | Benert 0834581388 Paul 0832843648 | Zanele and Simphiwe | Vereeniging | pending | At 03:30 Mjayeli Sup Hlakutsa 0682841869 driving LL12CH GP reported that he recieved a call from Control to escort Linesman Bennert and when he arrives at kmp 64/14-16 Linesman Bennert was already left to switch off the main switch. He then discovered 02 span of contact wire cut and stolen 02 span of tiger wire cut and left on the ground. At 03:34 Area Manager Rambuda was informed. | [86 empty] | -26.3 | 27.9
05/01/2024 | 45068/1/2024 | :6335/01/24 | CO181/2238 | 19/15-20/01. & 22/1-2 | 2 contact & tiger | Springdale | SPRINGDALE | Mjayeli Sup Mashweni 0684253098 & sup Rasivhanga 0673931533 | Linesman Marcus 0721565780 and Electrician Thelma 0834009562 | Zanele and Simphiwe | Bapsfontein | pending | At 23:30 Mjayeli Sup Mashweni 0684253098 reported that when he was performing his duty he discovered 01 span of contact wire and 01 span of Tiger wire cut and left down at Springdale KMP 19/15-20/01. At 23:35 Area Manager Chiloane 0766985501 updated | [24 empty] | At 00:20 Mjayeli sup Rasivhanga 0673931533 reported that AT 00:00 he discovered that he discovered another 01 span of contact cut and stolen and 01 span of tiger wire vandalised on kmp 22/1-2 | [61 empty] | 36.1867 | -94.1288